붙임 1.

2025년도 기자재공급 유자격자(원자력 분야) 현황

(기준일: 2025. 7. 1)

No.	분류	품질등급	품목코드	품목명	업체명	국가명	등록기간 시작일	등록기간 종료일
1	기계 기계 기계 기계 기계 기계 기계	A	SM702	FEEDWATER CONTROL VALVE	EMERSON PROCESS MANAGEMENT SAS	프랑스	2024-06-01	2027-05-31
2					주식회사 트릴리엄플로우코리아	한국	2024-06-01	2027-05-31
3					아이엠아이크리티컬엔지니어링코리아(주)	한국	2024-06-01	2027-05-31
4					키밸브기술(주)	한국	2024-07-04	2027-07-03
5		Q	SM703	STARTUP BYPASS ISOLATION VALVE	주식회사 트릴리엄플로우코리아	한국	2024-05-01	2027-04-30
6					아이엠아이크리티컬엔지니어링코리아(주)	한국	2024-05-01	2027-04-30
7					Sempell GmbH	독일	2024-05-01	2027-04-30
8		Q	SM907	FEEDWATER FLOW ELEMENT	CURTISS-WRIGHT, NUCLEAR DIVISION:BREA OPERATIONS	미국	2024-12-30	2027-12-29
9		A	UM202	CONDENSER VACUUM PUMPS	㈜ 청우하이드로	한국	2022-11-15	2025-11-14
10					Tsurumi Manufacturing Co.,Ltd	일본	2023-05-15	2026-05-14
11		A	UM204A	MAIN FEEDWATER PUMPS, START-UP FEEDWATER PUMPS, AND CONDENSATE PUMPS & FEEDWATER BOOSTER PUMPS	현대중공업터보기계 ㈜	한국	2022-07-15	2025-07-14
12					㈜ 청우하이드로	한국	2022-07-15	2025-07-14
13					효성굿스프링스 ㈜	한국	2022-07-15	2025-07-14
14					㈜ 신신기계	한국	2022-07-15	2025-07-14
15		A	UM212	CENTRIFUGAL PUMPS	현대중공업터보기계 ㈜	한국	2022-07-15	2025-07-14
16					효성굿스프링스 ㈜	한국	2022-07-15	2025-07-14
17					㈜ 청우하이드로	한국	2022-07-15	2025-07-14
18					㈜ 신신기계	한국	2022-07-15	2025-07-14
19		Q	UM214	DIESEL FUEL OIL PUMPS & LUBE OIL TRANSFER PUMPS	㈜ 신신기계	한국	2022-11-15	2025-11-14
20					㈜ 청우하이드로	한국	2022-11-15	2025-11-14
21					효성굿스프링스 ㈜	한국	2022-11-15	2025-11-14
22		A A	UM217 UM217	VERTICAL SUMP PUMPS & SUBMERSIBLE SUMP PUMPS VERTICAL SUMP PUMPS & SUBMERSIBLE SUMP PUMPS	㈜ 청우하이드로	한국	2022-07-15	2025-07-14
23					효성굿스프링스 ㈜	한국	2022-11-15	2025-11-14
24					㈜ 신신기계	한국	2022-11-15	2025-11-14
25		A	UM220	CIRCULATING WATER PUMPS and TAOCW & CIRCULATING WATER SCREEN WASH PUMPS	㈜ 신신기계	한국	2022-11-15	2025-11-14
26					현대중공업터보기계 ㈜	한국	2022-11-15	2025-11-14
27					㈜ 청우하이드로	한국	2022-11-15	2025-11-14
28					효성굿스프링스 ㈜	한국	2022-11-15	2025-11-14
29		A	UM224	AIR COMPRESSORS & AUXILIARIES	한신기계공업	한국	2022-11-15	2025-11-14
30					에스에이엔지니어링	한국	2022-11-15	2025-11-14
31		Q	UM227	ESSENTAL CHILLERS & NON-ESSENTIAL CHILLERS	하이에어코리아 ㈜	한국	2022-11-15	2025-11-14
32					(주)센추리	한국	2022-11-15	2025-11-14
33					엘지전자(주)	한국	2022-11-15	2025-11-14
34		A	UM229A	NON-SAFETY-RELATED HEAT EXCHANGERS (PLATE TYPE / SHELL & TUBE TYPE)	디에이치피이엔지(주)	한국	2022-07-15	2025-07-14
35					(주)마이텍	한국	2022-07-15	2025-07-14
36					(주)파워엠엔씨	한국	2022-07-15	2025-07-14
37					(주)엘에치이	한국	2024-06-19	2027-06-18
38		Q	UM241	TRAVELING SCREENS & INTAKE STRUCTURE ACCESSORIES	(주)무진기연	한국	2022-07-15	2025-07-14
39					효림이엔아이 ㈜	한국	2022-11-15	2025-11-14
40		Q	UM243	MAIN STEAM ISOLATION VALVES & MAIN FEEDWATER ISOLATION VALVES	Velan	캐나다	2022-11-15	2025-11-14
41					Sempell GmbH	독일	2022-11-15	2025-11-14
42					CONTROL COMPONENTS INC.	미국	2022-11-15	2025-11-14
43					FLOWSERVE US COMPANY	미국	2025-03-11	2028-03-10
44		Q	UM245	SAFETY RELIEF VALVES	(주)삼신	한국	2022-11-15	2025-11-14
45					IMI BOPP & REUTHER	독일	2022-11-15	2025-11-14
46					EMERSON AUTOMATION SOLUTIONS FINAL CONTROL US LP	미국	2024-06-01	2027-05-31
47					Trillium Flow Technologies France SAS	프랑스	2024-06-01	2027-05-31
48		A	UM246	TURBINE AREA MAIN CRANE & FUEL HANDLING AREA CRANE, MISCELLANEOUS CRANES (15 TO 150 TON)	(주)파워엠엔씨	한국	2022-11-15	2025-11-14
49					㈜현대호이스트	한국	2023-05-15	2026-05-14
50					금오중공업	한국	2024-06-27	2027-06-26
51					㈜ 고려호이스트	한국	2025-06-13	2028-06-12
52		A	UM248	REACTOR CONTAINMENT BUILDING POLAR CRANE	(주)파워엠엔씨	한국	2022-11-15	2025-11-14
53		A	UM248	REACTOR CONTAINMENT BUILDING POLAR CRANE	금오중공업	한국	2024-06-27	2027-06-26
54		A	UM250	HOISTS & MISCELLANEOUS CRANES (LESS THAN 15 TON)	(주)파워엠엔씨	한국	2022-11-15	2025-11-14
55					㈜현대호이스트	한국	2022-11-15	2025-11-14
56					금오중공업	한국	2024-06-27	2027-06-26
57					㈜ 고려호이스트	한국	2025-06-13	2028-06-12
58		Q	UM251	SAFETY RELATED AIR HANDLING UNITS, CUBICLE COOLERS AND NON-SAFETY RELATED RCFCS	엘지전자(주)	한국	2022-07-15	2025-07-14
59					(주)센추리	한국	2022-07-15	2025-07-14
60					하이에어코리아 ㈜	한국	2022-07-15	2025-07-14
61		Q	UM252	SAFETY-RELATED AIR CLEANING UNITS & DUCT HEATERS	엘지전자(주)	한국	2022-07-15	2025-07-14
62					(주)센추리	한국	2022-07-15	2025-07-14
63					하이에어코리아 ㈜	한국	2022-11-15	2025-11-14
64		A	UM253	NON-SAFETY-RELATED AIR HANDLING UNITS & CUBICLE COOLERS	엘지전자(주)	한국	2022-11-15	2025-11-14
65					(주)센추리	한국	2022-11-15	2025-11-14
66					하이에어코리아 ㈜	한국	2022-11-15	2025-11-14
67		Q	UM254	DAMPERS & DUCTWORK ACCESSORIES	엘지전자(주)	한국	2022-11-15	2025-11-14
68		Q	UM254	DAMPERS & DUCTWORK ACCESSORIES	(주)센추리	한국	2022-11-15	2025-11-14
69					하이에어코리아 ㈜	한국	2022-11-15	2025-11-14
70		A	UM255A	NON-SAFETY-RELATED AIR CLEANING UNITS	하이에어코리아 ㈜	한국	2022-11-15	2025-11-14
71					엘지전자(주)	한국	2022-11-15	2025-11-14
72					(주)센추리	한국	2022-11-15	2025-11-14
73		Q	UM255B	FANS	하이에어코리아 ㈜	한국	2022-07-15	2025-07-14
74					(주)센추리	한국	2022-07-15	2025-07-14
75					엘지전자(주)	한국	2022-07-15	2025-07-14
76		A	UM258	FIRE PUMPS & DRIVERS	현대중공업터보기계 ㈜	한국	2022-11-15	2025-11-14
77					효성굿스프링스 ㈜	한국	2022-11-15	2025-11-14
78					㈜ 청우하이드로	한국	2022-11-15	2025-11-14
79					(주)안국엔지니어링	한국	2024-05-01	2027-04-30
80					㈜ 신신기계	한국	2024-05-01	2027-04-30
81		A	UM259	FIRE DETECTION, PROTECTION SYSTEM AND GASEOUS FIRE PROTECTION SYSTEM	㈜엔케이	한국	2022-11-15	2025-11-14
82		Q	UM263	EMERGENCY DIESEL GENERATORS & ALTERNATE AC DIESEL GENERATORS	한화엔진 주식회사	한국	2022-07-15	2025-07-14
83					에이치디현대중공업 주식회사	한국	2023-05-15	2026-05-14
84		Q	UM273	FLOW RESTRICTION ELEMENTS & VENTURIS	(주)서진인스텍	한국	2022-11-15	2025-11-14
85					(주)하이트롤	한국	2023-05-15	2026-05-14
86	계측 계측 계측 계측 계측	Q	SJ870A	PRESSURE & DIFFERENTIAL PRESSURE TRANSMITTERS	두온시스템(주)	한국	2024-06-01	2027-05-31
87					Rosemount Nuclear Instruments, Inc.	미국	2024-06-01	2027-05-31
88		Q	SJ870B	RESISTANCE TEMPERATURE DETECTORS	Mirion Technologies(Conax Nucl	미국	2024-06-19	2027-06-18
89		Q	UJ201	HYDROGEN MONITORING SYSTEM & COMBUSTIBLE GAS MONITORS	Delphi Control Systems, INC	미국	2023-05-15	2026-05-14
90					(주)리얼게인	한국	2023-05-15	2026-05-14
91		Q	UJ202	RADIATION MONITORING SYSTEM	(주)리얼게인	한국	2022-11-15	2025-11-14
92					(주)수산뉴텍	한국	2022-11-15	2025-11-14
93		A	UJ203	SEISMIC MONITORING SYSTEM	(주)리얼게인	한국	2022-11-15	2025-11-14
94					GeoSIG Ltd.	스위스	2022-11-15	2025-11-14
95					(주)우리기술	한국	2024-04-01	2027-03-31
96		A	UJ204	SAMPLING SYSTEM	유림기술 ㈜	한국	2022-11-15	2025-11-14
97		A	UJ205	CCTV SYSTEM FOR PLANT OPERATION	(주)리얼게인	한국	2022-11-15	2025-11-14
98		A	UJ206	VIBRATION MONITORING SYSTEM	(주)오토시스	한국	2022-11-15	2025-11-14
99					와이피피(주)	한국	2022-11-15	2025-11-14
100					(주)리얼게인	한국	2022-11-15	2025-11-14
101		A	UJ209	HVAC CONTROL PANELS	㈜비츠로시스	한국	2022-11-15	2025-11-14
102					와이피피(주)	한국	2022-11-15	2025-11-14
103					유림기술 ㈜	한국	2024-07-04	2027-07-03
104					주식회사 이지에버텍	한국	2025-02-28	2028-02-27
105		Q	UJ210	AUX/LOCAL CONTROL PANELS	와이피피(주)	한국	2022-07-15	2025-07-14
106					㈜비츠로시스	한국	2022-11-15	2025-11-14
107					(주)우리기술	한국	2024-06-27	2027-06-26
108		A	UJ217A	PNEUMATIC CONTROLLERS & LEVEL SWITCHES	(주)서진인스텍	한국	2022-11-15	2025-11-14
109					TCEM	프랑스	2022-11-15	2025-11-14
110		Q	UJ217B	ULTRASONIC TYPE LEVEL SWITCHES & TRANSMITTERS	(주)하이트롤	한국	2023-05-15	2026-05-14
111		A	UJ218	LEVEL GAUGE GLASSES & FLOW MEASURING ORIFICE PLATES	(주)서진인스텍	한국	2022-11-15	2025-11-14
112					(주)와이즈	한국	2022-11-15	2025-11-14
113		A	UJ219	PRESSURE SWITCHES, DIFFERENTIAL PRESSURE SWITCHES/INDICATORS	(주)와이즈	한국	2022-11-15	2025-11-14
114					한국나가노(주)	한국	2023-05-15	2026-05-14
115		A	UJ221	PRESSURE GAUGES, TEMPERATURE SWITCHES AND INDICATING THERMOMETERS	(주)와이즈	한국	2022-11-15	2025-11-14
116					한국나가노(주)	한국	2023-05-15	2026-05-14
117		Q	UJ224	AVERAGING PIPOT TUBES	(주)와이즈	한국	2022-11-15	2025-11-14
118					(주)서진인스텍	한국	2022-11-15	2025-11-14
119		A	UJ225	ROTAMETERS AND MISCELLANEOUS FLOW DEVICES	(주)서진인스텍	한국	2022-11-15	2025-11-14
120					(주)하이트롤	한국	2023-05-15	2026-05-14
121		Q	UJ226	THERMAL DISPERSION TYPE INSTRUMENTS	FLUID COMPONENTS INTERNATIONAL	미국	2022-11-15	2025-11-14
122					(주)하이트롤	한국	2023-05-15	2026-05-14
123		Q	UJ227	TEMPERATURE ELEMENTS & THERMOWELLS FOR NUCLEAR SERVICE	(주)우진	한국	2022-11-15	2025-11-14
124					Mirion Technologies(Conax Nucl	미국	2022-11-15	2025-11-14
125		A	UJ228	TEMPERATURE ELEMENTS & THERMOWELLS FOR GENERAL SERVICE	(주)우진	한국	2022-11-15	2025-11-14
126					(주)와이즈	한국	2022-11-15	2025-11-14
127		Q	UJ230A	GENERAL TYPE FIELD INSTRUMENTS	Rosemount Nuclear Instruments, Inc.	미국	2022-11-15	2025-11-14
128		A	UJ230B	DISPLACER TYPE TRANSMITTERS	(주)서진인스텍	한국	2022-11-15	2025-11-14
129		Q	UJ230C	INTELLIGENT TYPE FIELD INSTRUMENTS	두온시스템(주)	한국	2022-11-15	2025-11-14
130		A	UJ231	CONTROL VALVES FOR GENERAL SERVICE	(주)피케이밸브	한국	2022-11-15	2025-11-14
131					(주)삼신	한국	2022-11-15	2025-11-14
132					(주)에쓰브이씨	한국	2022-11-15	2025-11-14
133					아이엠아이크리티컬엔지니어링코리아(주)	한국	2022-11-15	2025-11-14
134					주식회사 트릴리엄플로우코리아	한국	2022-11-15	2025-11-14
135					키밸브기술(주)	한국	2024-07-04	2027-07-03
136		Q	UJ232	CONTROL VALVES FOR SAFETY & SEVERE SERVICE	주식회사 트릴리엄플로우코리아	한국	2022-11-15	2025-11-14
137					(주)삼신	한국	2022-11-15	2025-11-14
138					EMERSON PROCESS MANAGEMENT SAS	프랑스	2022-11-15	2025-11-14
139					Sempell GmbH	독일	2022-11-15	2025-11-14
140		Q	UJ232	CONTROL VALVES FOR SAFETY & SEVERE SERVICE	CONTROL COMPONENTS INC.	미국	2022-11-15	2025-11-14
141					(주)피케이밸브	한국	2022-11-15	2025-11-14
142		Q	UJ233	BUTTERFLY VALVES FOR NUCLEAR SERVICE	현대중공업터보기계 ㈜	한국	2022-11-15	2025-11-14
143					(주)삼신	한국	2022-11-15	2025-11-14
144		A	UJ234	BUTTERFLY VALVES FOR GENERAL SERVICE	(주)피케이밸브	한국	2022-11-15	2025-11-14
145					(주)삼신	한국	2022-11-15	2025-11-14
146					현대중공업터보기계 ㈜	한국	2022-11-15	2025-11-14
147					(주)덕원밸브	한국	2025-02-28	2028-02-27
148		Q	UJ239	SOLENOID VALVES	Target Rock, Industrial Division, Curtiss-Wright	미국	2023-05-15	2026-05-14
149		Q	UJ240	INSTRUMENT VALVES	비엠티	한국	2022-11-15	2025-11-14
150					하이록코리아㈜	한국	2023-05-15	2026-05-14
151	배관 배관 배관 배관 배관	Q	UP202A	SAFETY RELATED SHOP FABRICATED PIPING	(주)무진기연	한국	2022-11-15	2025-11-14
152					성화산업 ㈜	한국	2022-11-15	2025-11-14
153		Q	UP202A	SAFETY RELATED SHOP FABRICATED PIPING	정우산기 ㈜	한국	2022-11-15	2025-11-14
154					(주)성일에스아이엠	한국	2024-02-15	2027-02-14
155		A	UP202B	SHOP FABRICATED POWER PIPING	(주)무진기연	한국	2022-11-15	2025-11-14
156					성화산업 ㈜	한국	2022-11-15	2025-11-14
157					정우산기 ㈜	한국	2022-11-15	2025-11-14
158					(주)성일에스아이엠	한국	2024-02-15	2027-02-14
159		A	UP202D	SHOP FABRICATED POWER BENDING PIPING	성화산업 ㈜	한국	2022-11-15	2025-11-14
160					(주)성일에스아이엠	한국	2023-05-15	2026-05-14
161		Q	UP204	SAFETY-RELATED MANUAL STEEL GATE, GLOBE, AND CHECK VALVES, 2 - 1/2" & LARGER	(주)삼신	한국	2022-11-14	2025-11-14
162					VELAN S.A.S	프랑스	2022-11-15	2025-11-14
163					(주)피케이밸브	한국	2022-11-15	2025-11-14
164					Sempell GmbH	독일	2022-11-15	2025-11-14
165		Q	UP206A	SAFETY-RELATED STEEL GATE & GLOBE VALVES WITH ACTUATOR	Sempell GmbH	독일	2022-11-15	2025-11-14
166					(주)피케이밸브	한국	2022-11-15	2025-11-14
167		Q	UP206A	SAFETY-RELATED STEEL GATE & GLOBE VALVES WITH ACTUATOR	(주)삼신	한국	2022-11-15	2025-11-14
168					VELAN S.A.S	프랑스	2022-11-15	2025-11-14
169		A	UP206B	STEEL GATE & GLOBE VALVES WITH ACTUATOR	(주)삼신	한국	2022-11-15	2025-11-14
170					(주)피케이밸브	한국	2022-11-15	2025-11-14
171		Q	UP206C	SAFETY-RELATED CONTROLLED CLOSURE CHECK VALVES	(주)피케이밸브	한국	2022-11-15	2025-11-14
172					Sempell GmbH	독일	2022-11-15	2025-11-14
173					(주)삼신	한국	2022-11-15	2025-11-14
174					VELAN S.A.S	프랑스	2022-11-15	2025-11-14
175		Q	UP206D	TILTING DISC CHECK VALVES	(주)피케이밸브	한국	2022-11-15	2025-11-14
176					(주)삼신	한국	2022-11-15	2025-11-14
177					Sempell GmbH	독일	2022-11-15	2025-11-14
178		Q	UP207	MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2" AND SMALLER	VELAN S.A.S	프랑스	2022-11-15	2025-11-14
179					Sempell GmbH	독일	2022-11-15	2025-11-14
180					(주)삼신	한국	2022-11-15	2025-11-14
181		Q	UP207	MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2" AND SMALLER	(주)피케이밸브	한국	2022-11-15	2025-11-14
182					㈜일신밸브	한국	2022-11-15	2025-11-14
183		Q	UP208	DIAPHRAGM VALVES	(주)삼신	한국	2022-11-15	2025-11-14
184					(주)에쓰브이씨	한국	2022-11-15	2025-11-14
185					㈜일신밸브	한국	2022-11-15	2025-11-14
186		A	UP209	MANUAL STEEL GATE, GLOBE AND CHECK VALVES, 2 - 1/2" AND LARGER	㈜엔케이	한국	2022-11-15	2025-11-14
187					(주)삼신	한국	2022-11-15	2025-11-14
188					(주)피케이밸브	한국	2022-11-15	2025-11-14
189					키밸브기술(주)	한국	2024-07-04	2027-07-03
190		A	UP214	STEEL PLUG VALVES	주식회사 쓰리젯	한국	2022-11-15	2025-11-14
191		Q	UP216	STRAINERS	CONTROL COMPONENTS INC.	미국	2022-11-15	2025-11-14
192					정우산기 ㈜	한국	2022-11-15	2025-11-14
193		A	UP217	STEAM TRAPS AND DRAIN TRAPS	(주)에쓰브이씨	한국	2022-11-15	2025-11-14
194		A	UP218	VALVE EXTENSION RODS	(주)비와이	한국	2022-11-15	2025-11-14
195		A	UP220	METALLIC EXPANSION JOINTS & FLEXIBLE METAL HOSES	비엠티	한국	2022-11-15	2025-11-14
196					유니슨에이치케이알(주)	한국	2022-11-15	2025-11-14
197		Q	UP223	CONTAINMENT PIPING PENETRATIONS	비에이치아이 ㈜	한국	2022-11-15	2025-11-14
198	전기 전기 전기 전기	A	UE204	DISTRIBUTION TRANSFORMER	국제전기(주)	한국	2022-07-15	2025-07-14
199					이화전기공업(주)	한국	2022-07-15	2025-07-14
200		A	UE207	22.9 kV HIGH VOLTAGE SWITCHGEARS AND CONTROL & MONITORING SYSTEM	효성중공업 ㈜	한국	2022-07-15	2025-07-14
201					㈜ 광명전기	한국	2022-07-15	2025-07-14
202					(주)비츠로일렉트릭	한국	2022-11-15	2025-11-14
203					선도전기㈜	한국	2022-11-15	2025-11-14
204					서전기전	한국	2024-04-01	2027-03-31
205					(주)대산이엔씨	한국	2024-04-01	2027-03-31
206		Q	UE208	480 V LOAD CENTERS	(주)비츠로일렉트릭	한국	2022-07-15	2025-07-14
207					효성중공업 ㈜	한국	2022-07-15	2025-07-14
208					선도전기㈜	한국	2022-07-15	2025-07-14
209		Q	UE208	480 V LOAD CENTERS	㈜ 광명전기	한국	2022-07-15	2025-07-14
210					(주)대산이엔씨	한국	2024-04-01	2027-03-31
211					서전기전	한국	2024-04-01	2027-03-31
212		Q	UE209	480 V MOTOR CONTROL CENTERS	㈜ 광명전기	한국	2022-07-15	2025-07-14
213					효성중공업 ㈜	한국	2022-07-15	2025-07-14
214					(주)비츠로일렉트릭	한국	2022-07-15	2025-07-14
215					선도전기㈜	한국	2022-11-15	2025-11-14
216					서전기전	한국	2024-05-01	2027-04-30
217		Q	UE212	BATTERIES WITH RACKS	세방전지㈜	한국	2022-11-15	2025-11-14
218		Q	UE214	BATTERY CHARGERS & REGULATING TRANSFORMERS BATTERY CHARGERS & UPS	이화전기공업(주)	한국	2022-07-15	2025-07-14
219					국제전기(주)	한국	2022-07-15	2025-07-14
220		Q	UE216	DC MOTOR CONTROL CENTERS	선도전기㈜	한국	2022-11-15	2025-11-14
221					효성중공업 ㈜	한국	2022-11-15	2025-11-14
222					인텍전기전자(주)	한국	2023-05-15	2026-05-14
223					㈜ 광명전기	한국	2024-04-01	2027-03-31
224		Q	UE230	ELECTRICAL PENETRATION ASSEMBLIES	Mirion Technologies(Conax Nucl	미국	2022-11-15	2025-11-14
225					Schott AG	미국	2022-11-15	2025-11-14
226		A	UE233	ELECTRICAL DISTRIBUTION PANELS AND BATTERY LOAD BANK	선도전기㈜	한국	2022-07-15	2025-07-14
227					㈜ 광명전기	한국	2022-07-15	2025-07-14
228					유림기술 ㈜	한국	2024-05-01	2027-04-30
229					(주)대산이엔씨	한국	2024-05-01	2027-04-30
230					영인에너지솔루션 주식회사	한국	2024-05-01	2027-04-30
231		A	UE239	HEAT TRACING MATERIALS	주식회사화인코리아	한국	2022-11-15	2025-11-14
232		Q	UE241	CLASS 1E POWER , CONTROL AND INSTRUMENTATION CABLES	엘에스전선 ㈜	한국	2022-11-15	2025-11-14
233					Habia Cable AB	스웨덴	2022-11-15	2025-11-14
234		A	UE242	NON-CLASS 1E POWER, LIGHTING CONTROL AND INSTRUMENTATION CABLES	Habia Cable AB	스웨덴	2022-11-15	2025-11-14
235					엘에스전선 ㈜	한국	2022-11-15	2025-11-14
236					(주)티엠씨	한국	2025-05-28	2028-05-27
237		A	UE246	CATHODIC PROTECTION EQUIPMENT	동양방식(주)	한국	2022-11-15	2025-11-14
238		A	UE246	CATHODIC PROTECTION EQUIPMENT	프라임코포레이션(주)	한국	2022-11-15	2025-11-14
239		Q	UE247	COMMUNICATION AND SPECIAL CABLES	Habia Cable AB	스웨덴	2022-11-15	2025-11-14
240		Q	UE248	PREFABRICATED CABLE ASSEMBLIES	(주)우진	한국	2022-11-15	2025-11-14
241					Curtiss-Wright Nuclear Division, EGS/QualTech NP	미국	2024-05-01	2027-04-30
242		A	UE257C	COMMUNICATION SYSTEM(GROUP B)	(주)일신이디아이	한국	2023-05-15	2026-05-14
243		A	UE272A	SODIUM, HALOGEN AND CERAMIC METAL HALIDE LIGHTING FIXTURES	(주)삼명사	한국	2022-11-15	2025-11-14
244					남북전기㈜	한국	2023-05-15	2026-05-14
245		A	UE272D	LED LAMPS AND FIXTURES FOR LOW AND HIGH RADIATION AREA	(주)삼명사	한국	2022-11-15	2025-11-14
246					남북전기㈜	한국	2023-05-15	2026-05-14
247					(주)소룩스	한국	2023-05-15	2026-05-14
248		A	UE277	EMERGENCY & UNDERWATER LIGHTING FIXTURES	남북전기㈜	한국	2023-05-15	2026-05-14
249	토목 토목	Q	UC201	CEMENT	쌍용씨앤이(주)	한국	2023-05-15	2026-05-14
250		Q	UC204	STRUCTURAL STEEL	보성파워텍(주)	한국	2022-11-15	2025-11-14
251					현대스틸산업주식회사	한국	2022-11-15	2025-11-14
252		Q	UC205A	REINFORCING STEEL BAR, ASTM BARS	동국제강 주식회사	한국	2023-05-15	2026-05-14
253					현대제철(주)	한국	2023-05-15	2026-05-14
254					한국철강(주)	한국	2024-05-01	2027-04-30
255		Q	UC208	CONTAINMENT LINER PLATES	비에이치아이 ㈜	한국	2022-11-15	2025-11-14
256					(주)무진기연	한국	2022-11-15	2025-11-14
257		Q	UC210	STAINLESS STEEL LINER WORKS	비에이치아이 ㈜	한국	2022-11-15	2025-11-14
258					(주)무진기연	한국	2022-11-15	2025-11-14
259		Q	UC215A	SAFETY-RELATED SHOP FABRICATED PIPE SUPPORTS	성화산업 ㈜	한국	2022-11-15	2025-11-14
260					LISEGA SE	독일	2022-11-15	2025-11-14
261					유니슨에이치케이알(주)	한국	2022-11-15	2025-11-14
262		Q	UC215C	SNUBBERS	LISEGA SE	독일	2022-11-15	2025-11-14
263					성화산업 ㈜	한국	2023-05-15	2026-05-14
264	핵핵핵	Q	UN201	ESSENTIAL SERVICE WATER PUMPS & SCREEN WASH PUMPS	㈜ 청우하이드로	한국	2022-11-15	2025-11-14
265					㈜ 신신기계	한국	2022-11-15	2025-11-14
266					현대중공업터보기계 ㈜	한국	2022-11-15	2025-11-14
267					효성굿스프링스 ㈜	한국	2022-11-15	2025-11-14
268		Q	UN202	SAFETY-RELATED CENTRIFUGAL PUMPS	현대중공업터보기계 ㈜	한국	2022-11-15	2025-11-14
269					효성굿스프링스 ㈜	한국	2022-11-15	2025-11-14
270					㈜ 청우하이드로	한국	2022-11-15	2025-11-14
271					㈜ 신신기계	한국	2022-11-15	2025-11-14
272		Q	UN203	CONTAINMENT SPRAY PUMPS	㈜ 청우하이드로	한국	2022-11-15	2025-11-14
273					효성굿스프링스 ㈜	한국	2022-11-15	2025-11-14
274					㈜ 신신기계	한국	2022-11-15	2025-11-14
275		Q	UN204	SAFETY-RELATED HEAT EXCHANGERS	(주)마이텍	한국	2022-11-15	2025-11-14
276					디에이치피이엔지(주)	한국	2022-11-15	2025-11-14
277					(주)엘에치이	한국	2024-06-01	2027-05-31
278		Q	UN205	SHOP FABRICATED PRESSURE VESSELS & TANKS	정우산기 ㈜	한국	2022-11-15	2025-11-14
279		Q	UN205	SHOP FABRICATED PRESSURE VESSELS & TANKS	(주)파워엠엔씨	한국	2022-11-15	2025-11-14
280					(주)무진기연	한국	2022-11-15	2025-11-14
281					주식회사 티엔아이	한국	2022-11-15	2025-11-14
282					(주)삼홍기계	한국	2025-06-19	2028-06-18
283		Q	UN206	IRWST SUMP STRAINERS	정우산기 ㈜	한국	2022-11-15	2025-11-14
284					비에이치아이 ㈜	한국	2022-11-15	2025-11-14
285					주식회사 티엔아이	한국	2022-11-15	2025-11-14
286		A	UN207	GASEOUS RADWASTE SYSTEM	(주)센추리	한국	2022-11-15	2025-11-14
287		A	UN208	LIQUID RADWASTE SYSTEM (R/O PACKAGE)	(주)이엔이	한국	2022-11-15	2025-11-14
288		A	UN209	R/O CONCENTRATE TREATMENT SYSTEM	(주)정석케미칼	한국	2022-11-15	2025-11-14
289		Q	UN211	RADWASTE FILTERS & ESSENTIAL SERVICE WATER DEBRIS FILTERS	정우산기 ㈜	한국	2022-11-15	2025-11-14
290		A	UN212	POLYMER SOLIDIFICATION SYSTEM	(주)정석케미칼	한국	2022-11-15	2025-11-14
291		Q	UN215	CONTAINMENT SPRAY NOZZLE	(주)에쓰브이씨	한국	2022-11-15	2025-11-14
292		A	UN217	FILTER HANDLING EQUIPMENT & SOLID WASTE COMPACTOR	(주)무진기연	한국	2022-07-15	2025-07-14
293					한국차폐기술(주)	한국	2022-07-15	2025-07-14
294		Q	UN229	PASSIVE AUTOCATALYTIC RECOMBINERS	한국원자력기술(주)	한국	2022-11-15	2025-11-14
					주식회사 티엔아이	한국	2025-06-19	2028-06-18
295
		Q	UN231	SAFETY DEPRESSURIZATION & VENT SYSTEM SPARGERS	주식회사 티엔아이	한국	2022-11-15	2025-11-14
296

끝.